## 2021 MAPA List Price Excel
Item Name | Barcode | Description | 2021 Unit Price | Product Line | Item Name | Product Line | Unit Wt | Case Qty | Box Size
00578 | 853194032490 | 15lf Strut Cross Bracing w/ Hardware; Recommended for all Galv. Supports where H > 60” | 116 | Accessories | 00578 | Accessories | 0
00941 |  | 5/8 SS Clamps | 3 | Parts | 00941 | Parts | 0.12
00942 |  | 7/8 SS Clamp | 3 | Parts | 00942 | Parts | 0.12
00943 |  | 1 1/8 SS Clamp | 3 | Parts | 00943 | Parts | 0.16
00946 |  | 2 1/8 SS Clamp | 5 | Parts | 00946 | Parts | 0.22
00958 |  | Strut Clamp #12-16 | 4 | Parts | 00958 | Parts | 0.04
00959 |  | Strut Clamp #17-20 | 4 | Parts | 00959 | Parts | 0.04
00960 |  | 3/8 Threaded Strut Nut | 1 | Parts | 00960 | Parts | 0.02
00964 |  | Strut Clamp #35-38 | 5 | Parts | 00964 | Parts | 0.04
00968 |  | Strut Clamp #66-76 | 8 | Parts | 00968 | Parts | 0.08
00969 |  | Strut Clamp # 79-93 | 20 | Parts | 00969 | Parts | 0.02
00970 |  | Strut Clamp # 101-115 | 31 | Parts | 00970 | Parts | 0.2
01183 |  | SPSA 45 Fixed Bracket Hardware Pkg | 82 | Parts | 01183 | Parts | 0
01185 |  | 12lf Strut Cross Bracing w/ Hardware; Recommended for all Galv. Supports where height is > than 40" | 107 | Accessories | 01185 | Accessories | 0
01186 |  | 12lf Strut Cross Bracing w/ Hardware; Recommended for all Galv. Supports where height is > than 40" | 107 | Accessories | 01186 | Accessories | 0
01187 |  | 15lf Strut Cross Bracing w/ Hardware; Recommended for all Galv. Supports where H > 60” | 116 | Accessories | 01187 | Accessories | 0
01188 |  | 15lf Strut Cross Bracing w/ Hardware; Recommended for all Galv. Supports where H > 60” | 116 | Accessories | 01188 | Accessories | 0
01250 | 853194029209 | 2 ft Bridge Section W/O Pad | 74 | Nylon Supports | 01250 | Nylon Supports | 5 | 5 | 24x20x12
01251 | 853194029216 | 2 ft. Bridge Section W/Pad | 83 | Nylon Supports | 01251 | Nylon Supports | 0 | 5 | 24x20x12
01252 | 853194029223 | 3 ft. Bridge Section W/O Pad | 93 | Nylon Supports | 01252 | Nylon Supports | 6 | 3 | 36x12x12
01253 | 853194029230 | 3 ft. Bridge Section W/Pad | 100 | Nylon Supports | 01253 | Nylon Supports | 0 | 3 | 36x12x12
01254 | 853194029247 | 4 ft Bridge Section W/O Pad | 136 | Nylon Supports | 01254 | Nylon Supports | 0
01255 | 853194029254 | 5 Ft Bridge Section W/O Pad | 156 | Nylon Supports | 01255 | Nylon Supports | 0
01256 | 853194029261 | 6 ft. Bridge Section | 163 | Nylon Supports | 01256 | Nylon Supports | 0
01257 | 853194029278 | 6 ft. Bridge Section-W/Pad | 174 | Nylon Supports | 01257 | Nylon Supports | 0
03101 |  | E-6000 Adhesive 10.2 oz | 25 | Parts | 03101 | Parts | 1.25
58150 |  | Strut Clamp 21-24 | 4 | Parts | 58150 | Parts | 0.04
58151 |  | Strut Clamp 25-29 | 5 | Parts | 58151 | Parts | 0.04
58152 |  | Strut Clamp # 30-34 | 5 | Parts | 58152 | Parts | 0.04
58153 |  | Strut Clamp #40-44 | 5 | Parts | 58153 | Parts | 0.04
58154 |  | Strut Clamp #48-54 | 5 | Parts | 58154 | Parts | 0.06
58155 |  | Strut Clamp #56-63 | 7 | Parts | 58155 | Parts | 0.09
10C100-EPD |  | 10' Termination Cable 100AMP - Liquid tight steel core flexible conduit (3 Wire w/ Ground) | 549 | Electrical Pedestals | 10C100-EPD | Electrical Pedestals
10C30-EPD |  | 10' Termination Cable 30AMP - Liquid tight steel core flexible conduit (3 Wire w/ Ground) | 205 | Electrical Pedestals | 10C30-EPD | Electrical Pedestals
10C60-EPD |  | 10' Termination Cable 60AMP - Liquid tight steel core flexible conduit (3 Wire w/ Ground) | 316 | Electrical Pedestals | 10C60-EPD | Electrical Pedestals
10C-6-30-EPD |  | 10' Termination Cable 30AMP- Liquid tight steel core flexible conduit (6 Wire w/ Ground) | 328 | Electrical Pedestals | 10C-6-30-EPD | Electrical Pedestals
10C-6-60-EPD |  | 10' Termination Cable 60AMP - Liquid tight steel core flexible conduit (6 Wire w/ Ground) | 443 | Electrical Pedestals | 10C-6-60-EPD | Electrical Pedestals
2X - 3X-3Z-4Z30-EEPD |  | Add Eaton Neutral Bar Assembly-30AMP | 125 | Electrical Pedestals | 2X - 3X-3Z-4Z30-EEPD | Electrical Pedestals
2X - 3X-3Z-4Z30-EPD |  | Add Square D Neutral Bar Assembly-30AMP | 118 | Electrical Pedestals | 2X - 3X-3Z-4Z30-EPD | Electrical Pedestals
2X - 3X-3Z-4Z60-EEPD |  | Add Eaton Neutral Bar Assembly-60AMP | 248 | Electrical Pedestals | 2X - 3X-3Z-4Z60-EEPD | Electrical Pedestals
2X - 3X-3Z-4Z60-EPD |  | Add Square D Neutral Bar Assembly-60AMP | 163 | Electrical Pedestals | 2X - 3X-3Z-4Z60-EPD | Electrical Pedestals
5C100-EPD |  | 5' Termination Cable 100AMP - Liquid tight steel core flexible conduit (3 Wire w/ Ground) | 387 | Electrical Pedestals | 5C100-EPD | Electrical Pedestals
5C30-EPD |  | 5' Termination Cable 30AMP - Liquid tight steel core flexible conduit (3 Wire w/ Ground) | 167 | Electrical Pedestals | 5C30-EPD | Electrical Pedestals
5C60-EPD |  | 5' Termination Cable 60AMP - Liquid tight steel core flexible conduit (3 Wire w/ Ground) | 242 | Electrical Pedestals | 5C60-EPD | Electrical Pedestals
5C-6-30-EPD |  | 5' Termination Cable 30AMP - Liquid tight steel core flexible conduit (6 Wire w/ Ground) | 166 | Electrical Pedestals | 5C-6-30-EPD | Electrical Pedestals
5C-6-60-EPD |  | 5' Termination Cable 60AMP - Liquid tight steel core flexible conduit (6 Wire w/ Ground) | 242 | Electrical Pedestals | 5C-6-60-EPD | Electrical Pedestals
A-EPD |  | Lightning Sure Arrestor (3 Wire) | 281 | Electrical Pedestals | A-EPD | Electrical Pedestals
A-EPSD |  | Lightning Sure Arrestor (3 Wire) | 704 | Electrical Pedestals | A-EPSD | Electrical Pedestals
BF-P |  | Double Check Back Flow Preventer | 152 | Plumbing Pedestals | BF-P | Plumbing Pedestals
BRC30-EPD |  | Additional Flex Conduit for Line Below Roof - 30AMP | 65 | Electrical Pedestals | BRC30-EPD | Electrical Pedestals
BRC60-EPD |  | Additional Flex Conduit for Line Below Roof - 60AMP | 91 | Electrical Pedestals | BRC60-EPD | Electrical Pedestals
D100-EPD |  | Upper Deck Cap-100AMP | 289 | Electrical Pedestals | D100-EPD | Electrical Pedestals
D30-EPD |  | Upper Deck Cap-30AMP | 277 | Electrical Pedestals | D30-EPD | Electrical Pedestals
D60-EPD |  | Upper Deck Cap-60AMP | 282 | Electrical Pedestals | D60-EPD | Electrical Pedestals
D-P |  | Deck Cap | 266 | Plumbing Pedestals | D-P | Plumbing Pedestals
D-UP |  | Deck Cap | 255 | Electrical Pedestals | D-UP | Electrical Pedestals
G-EPD |  | GFCI - Heavy Duty Commercial Receptacle w/ In Use Cover | 290 | Electrical Pedestals | G-EPD | Electrical Pedestals
M1-PBX-C-25-29 | 853194012843 | Single Post PBX 25-29 SNS Clamp | 11 | Nylon Supports | M1-PBX-C-25-29 | Nylon Supports | 0
MA-10SF4 |  | A-Strut 10" Length | 19 | Nylon Support | MA-10SF4 | Nylon Support | 1.6 | 10 | 20x16x6
MA-10SF4-P |  | A-Strut 10" Length w/ Pad | 23 | Nylon Support | MA-10SF4-P | Nylon Support | 1.6 | 10 | 20x16x6
MA-12SF4 |  | A-Strut 12" Length | 22 | Nylon Support | MA-12SF4 | Nylon Support | 2 | 10 | 17x12x10
MA-12SF4-P |  | A-Strut 12" Length w/ Pad | 28 | Nylon Support | MA-12SF4-P | Nylon Support | 2 | 10 | 17x12x10
MA-6SF4 |  | A-Strut 6" Length | 11 | Nylon Support | MA-6SF4 | Nylon Support | 0.8 | 10 | 17x13x5
MA-6SF4-P |  | A-Strut 6" Length w/ Pad | 14 | Nylon Support | MA-6SF4-P | Nylon Support | 0.8 | 10 | 17x13x5
MA-8SF4 |  | A-Strut 8" Length | 15 | Nylon Support | MA-8SF4 | Nylon Support | 1.2 | 10 | 18x16x5
MA-8SF4-P |  | A-Strut 8" Length w/ Pad | 19 | Nylon Support | MA-8SF4-P | Nylon Support | 1.2 | 10 | 18x16x5
MB-1010-C | 853194040587 | MAPA Master Base 10” X 10” Curb Style | 105 | HD-SS Base | MB-1010-C | HD-SS Base | 0
MB-1010-C-18-ES | 853194012898 | SS Base W/ 18" Adj. W/Corner Bracket | 225 | HD-SS Base | MB-1010-C-18-ES | HD-SS Base | 0
MB-1010-C-24-ES | 853194012904 | SS Base W/ 24" Adj. W/Corner Bracket | 232 | HD-SS Base | MB-1010-C-24-ES | HD-SS Base | 0
MB-1010-C-36-ES | 853194012911 | SS Base W/ 18" Adj. W/Corner Bracket | 257 | HD-SS Base | MB-1010-C-36-ES | HD-SS Base | 0
MB-1010-SS-BASE | 853194012935 | SS Master Base W/Hardware | 106 | HD-SS Base | MB-1010-SS-BASE | HD-SS Base | 2.9 | 10 | 20x16x12
MB-1416-SS-BASE | 853194012942 | SS Master Base W/Hardware | 120 | HD-SS Base | MB-1416-SS-BASE | HD-SS Base | 5.17 | 6 | 24x20x12
MB-1616-C-36-ES | 853194032131 | SS Master Base Equipment Support, Corner Bracket, 36” Adjustability | 314 | HD-SS Base | MB-1616-C-36-ES | HD-SS Base | 0
MB-1616-S-36-ES | 853194034166 | SS Master Base, Equipment Support, Side Bracket, 36" Adjustability | 314 | HD-SS Base | MB-1616-S-36-ES | HD-SS Base | 0
MB-1616-SS-18-ES | 853194012959 | SS Base W/18" Adj | 287 | HD-SS Base | MB-1616-SS-18-ES | HD-SS Base | 0
MB-1616-SS-24-ES | 853194012966 | SS Base W/24" Adj | 292 | HD-SS Base | MB-1616-SS-24-ES | HD-SS Base | 0
MB-1616-SS-BASE | 853194012980 | SS Master Base W/Hardware | 165 | HD-SS Base | MB-1616-SS-BASE | HD-SS Base | 5.6 | 5 | 24x20x12
MB-2020-25-SS-BASE | 853194012997 | SS Master Base W/Hardware | 197 | HD-SS Base | MB-2020-25-SS-BASE | HD-SS Base | 0 | 2 | 24x24x7
MB-2020-SS-BASE | 853194013000 | SS Master Base W/Hardware | 160 | HD-SS Base | MB-2020-SS-BASE | HD-SS Base | 10 | 2 | 24x24x7
MB-815-SS-BASE | 853194013031 | SS Master Base W/Hardware | 94 | HD-SS Base | MB-815-SS-BASE | HD-SS Base | 3.58 | 12 | 24x20x12
MC-R2432 |  | Big Roller W/ Spacers | 370 | Nylon Support | MC-R2432 | Nylon Support
MPD-100-2X-48/12 | 853194016995 | Pedestal Disconnect 240v-100 amp-2 Blade-2 Wire | 3250 | Electrical Pedestals | MPD-100-2X-48/12 | Electrical Pedestals | 0
MPD-100-2X-NF-48/12 | 853194017008 | Pedestal Disconnect 240v-100 amp-2 Blade-2 Wire Non Fused | 3478 | Electrical Pedestals | MPD-100-2X-NF-48/12 | Electrical Pedestals | 0
MPD-100-3Z-48/12 | 853194017046 | Pedestal Disconnect 600v-100 amp-3 Blade-4 Wire 3 Fuse | 4322 | Electrical Pedestals | MPD-100-3Z-48/12 | Electrical Pedestals | 0
MPD-100-3Z-NF-48/12 | 853194017053 | Pedestal Disconnect 600v-100 amp 3 Blades 3 Wire Non-Fused | 3476 | Electrical Pedestals | MPD-100-3Z-NF-48/12 | Electrical Pedestals | 0
MPD-30-2X-42/12 | 853194017114 | Pedestal Disconnect 240v-30 amp-2 Blade-2 Wire | 2008 | Electrical Pedestals | MPD-30-2X-42/12 | Electrical Pedestals | 0
MPD-30-2X-NF-42/12 | 853194017121 | Pedestal Disconnect 240v-30 amp-2 Blade-2 Wire Non Fused | 2069 | Electrical Pedestals | MPD-30-2X-NF-42/12 | Electrical Pedestals | 0
MPD-30-36/12 | 853194017138 | Pedestal Disconnect 240v-30 amp-2 Blade-2 Wire/2 Fuse | 1492 | Electrical Pedestals | MPD-30-36/12 | Electrical Pedestals | 0
MPD-30-3Z-42/12 | 853194017183 | Pedestal Disconnect 600v-30 amp-3 Blade-3 Wire/3 Fuse | 3044 | Electrical Pedestals | MPD-30-3Z-42/12 | Electrical Pedestals | 0
MPD-30-3Z-NF-42/12 | 853194017220 | Pedestal Disconnect 600v-30 amp 3 Blades 3 Wire Non-Fused | 1993 | Electrical Pedestals | MPD-30-3Z-NF-42/12 | Electrical Pedestals | 0
MPD-60-2X-42/12 | 853194017275 | Pedestal Disconnect 240v-60 amp-2 Blade-2 Wire | 2754 | Electrical Pedestals | MPD-60-2X-42/12 | Electrical Pedestals | 0
MPD-60-2X-NF-42/12 | 853194017282 | Pedestal Disconnect 240v-60 amp-2 Blade-2 Wire Non Fused | 2826 | Electrical Pedestals | MPD-60-2X-NF-42/12 | Electrical Pedestals | 0
MPD-60-3Z-42/12 | 853194017336 | Pedestal Disconnect 600v-60 amp 3 Blades 3 Fuse 3 Wire | 3144 | Electrical Pedestals | MPD-60-3Z-42/12 | Electrical Pedestals | 0
MPD-60-3Z-NF-42/12 | 853194017367 | Pedestal Disconnect 600v-60 amp 3 Blades 3 Wire Non-Fused | 3289 | Electrical Pedestals | MPD-60-3Z-NF-42/12 | Electrical Pedestals | 0
MPD-DC-100A | 853194017398 | Upper Deck Cap 100 Amp Disconnect | 289 | Electrical Pedestals | MPD-DC-100A | Electrical Pedestals | 0
MPD-DC-30A | 853194017404 | Upper Deck Cap 30 Amp Disconnect | 277 | Electrical Pedestals | MPD-DC-30A | Electrical Pedestals | 0
MPD-DC-60A | 853194017411 | Upper Deck Cap 60 Amp Disconnect | 282 | Electrical Pedestals | MPD-DC-60A | Electrical Pedestals | 0
MPDE-100-2X-48/12 | 853194032797 | Pedestal w/ Eaton Disconnect 240v-100 amp-2 Blade-2 Wire | 2520 | Electrical Pedestals | MPDE-100-2X-48/12 | Electrical Pedestals | 0
MPDE-100-2X-NF-48/12 | 853194032803 | Pedestal w/ Eaton Disconnect 240v-100 amp-2 Blade-2 Wire Non Fused | 2639 | Electrical Pedestals | MPDE-100-2X-NF-48/12 | Electrical Pedestals | 0
MPDE-100-3Z-48/12 | 853194032810 | Pedestal w/ Eaton Disconnect 600v-100 amp-3 Blade-3 Wire 3 Fuse | 3949 | Electrical Pedestals | MPDE-100-3Z-48/12 | Electrical Pedestals | 0
MPDE-100-3Z-NF-48/12 | 853194032827 | Pedestal w/Eaton Disconnect 600v-100 amp 3 Blades 3 Wire Non-Fused | 3246 | Electrical Pedestals | MPDE-100-3Z-NF-48/12 | Electrical Pedestals | 0
MPDE-30-2X-42/12 | 853194032841 | Pedestal W/ Eaton Disconnect 240v-30 amp-2 Blade-2 Wire | 1917 | Electrical Pedestals | MPDE-30-2X-42/12 | Electrical Pedestals | 0
MPDE-30-2X-NF-42/12 | 853194032858 | Pedestal w/Eaton Disconnect 240v-30 amp-2 Blade-2 Wire Non Fused | 1913 | Electrical Pedestals | MPDE-30-2X-NF-42/12 | Electrical Pedestals | 0
MPDE-30-36/12 | 853194032834 | Pedestal w/Eaton Disconnect 240v-30 amp-2 Blade-2 Wire/2 Fuse | 1476 | Electrical Pedestals | MPDE-30-36/12 | Electrical Pedestals | 0
MPDE-30-3Z-42/12 | 853194032865 | Pedestal w/ Eaton Disconnect 600v-30 amp-3 Blade-3 Wire/3 Fuse | 2968 | Electrical Pedestals | MPDE-30-3Z-42/12 | Electrical Pedestals | 0
MPDE-30-3Z-NF-42/12 | 853194032872 | Pedestal w/ Eaton Disconnect 600v-30 amp 3 Blades 3 Wire Non-Fused | 2554 | Electrical Pedestals | MPDE-30-3Z-NF-42/12 | Electrical Pedestals | 0
MPDE-60-2X-42/12 | 853194042314 | Electrical Pedestals, Disconnect, Eaton Disconnect, 60 amp, 240 VAC W/O Neutral, 42 Above Flange, 12 Below Flange | 2854 | Electrical Pedestals | MPDE-60-2X-42/12 | Electrical Pedestals | 0
MPDE-60-2X-NF-42/12 | 853194042314 | Electrical Pedestals, Disconnect, Eaton Disconnect, 60 amp, 240 VAC Non-Fused W/O Neutral, 42 Above Flange, 12 Below Flange | 1839 | Electrical Pedestals | MPDE-60-2X-NF-42/12 | Electrical Pedestals | 0
MPDE-60-3Z-42/12 | 853194032865 | Pedestal w/ Eaton Disconnect 600v-60 amp-3 Blade-3 Wire/3 Fuse | 2974 | Electrical Pedestals | MPDE-60-3Z-42/12 | Electrical Pedestals | 0
MPDE-60-3Z-NF-42/12 | 853194032872 | Pedestal w/ Eaton Disconnect 600v-60 amp 3 Blades 3 Wire Non-Fused | 3250 | Electrical Pedestals | MPDE-60-3Z-NF-42/12 | Electrical Pedestals | 0
MPH-24-D-24/9 | 853194017510 | Pedestal Hydrant W/ Underdeck Flange | 1073 | Plumbing Pedestals | MPH-24-D-24/9 | Plumbing Pedestals | 28
MPH-24-FP-24/9 | 853194017572 | Pedestal Hydrant W/ Underdeck Flange | 1291 | Plumbing Pedestals | MPH-24-FP-24/9 | Plumbing Pedestals | 35
MPH-24-FP-Y |  | Frost Proof Yard Style Hydrant, FP Only | 1620 | Plumbing Pedestals | MPH-24-FP-Y | Plumbing Pedestals
MPH-R-24 |  | Hydrant Replacement Valve, Vacuum Breaker, Dome Handle | 226 | Parts | MPH-R-24 | Parts
MPH-R-BN |  | Hydrant Replacement Bonnet Nut | 90 | Parts | MPH-R-BN | Parts
MPH-R-BN7 |  | Hydrant Replacement Bonnet Nut - Prior 2007 | 499 | Parts | MPH-R-BN7 | Parts
MPH-R-D-BN |  | D-Hydrant Replacement Bonnett Nut Assembly | 276 | Parts | MPH-R-D-BN | Parts
MPH-R-D-BV |  | Hydrant replacement Ball Valve Assembly | 363 | Parts | MPH-R-D-BV | Parts
MPH-R-DG |  | Hydrant Replacement Dome Handle Gasket | 16 | Parts | MPH-R-DG | Parts
MPH-R-DH |  | Hydrant Replacement Dome Handle Assembly | 63 | Parts | MPH-R-DH | Parts
MPH-R-DH7 | 853194038324 | Hydrant Replacement Dome Handle Assembly Prior 2007 | 20 | Parts | MPH-R-DH7 | Parts
MPH-R-D-VS |  | D-Hydrant Replacement Valve Stem Assembly | 88 | Parts | MPH-R-D-VS | Parts
MPH-R-FV |  | Hydrant Replacement Float Valve Assembly | 50 | Parts | MPH-R-FV | Parts
MPH-R-N |  | Hydrant Replacement Nozzle | 46 | Parts | MPH-R-N | Parts
MPH-R-PK7 | 853194040877 | MAPA Hydrant Repair Kit w/Packing String | 9 | Parts | MPH-R-PK7 | Parts
MPH-R-QD |  | Hydrant Replacement Quick Disconnect | 31 | Parts | MPH-R-QD | Parts
MPH-R-RT |  | Hydrant Replacement Reservoir Tank | 213 | Parts | MPH-R-RT | Parts
MPH-R-VA |  | Hydrant Replacement Vacuum Breaker/Adapter Assembly | 92 | Parts | MPH-R-VA | Parts
MPH-R-VB |  | Hydrant Replacement Vacuum Breaker | 32 | Parts | MPH-R-VB | Parts
MPH-R-VS |  | Hydrant Replacement Valve Stem Assembly | 161 | Parts | MPH-R-VS | Parts
MPH-R-VS7 |  | Hydrant Replacement Valve Stem Assembly Prior 2007 | 162 | Parts | MPH-R-VS7 | Parts
MPS-11-PS | 853194017633 | 3/4" X 11" SS 2 Hole Pipe Strap | 4 | Accessories | MPS-11-PS | Accessories | 0
MPS-14-PS | 853194017640 | 1" x 14" SS 2 Hole Pipe Strap | 7 | Accessories | MPS-14-PS | Accessories | 0.02
MPS-17-PS | 853194017657 | 1-1/4" X 17" SS 2 Hole Pipe Strap | 10 | Accessories | MPS-17-PS | Accessories | 0.3
MPS-26-PS | 853194017701 | 1-1/4" X 26" SS 2 Hole Pipe Strap | 14 | Accessories | MPS-26-PS | Accessories | 0.5
MPS-32-PS | 853194017718 | 1-1/4" X 32" SS 2 Hole Pipe Strap | 16 | Accessories | MPS-32-PS | Accessories | 0
MPS-7-PS | 853194017763 | 1/2" x 7" SS 2 Hole Pipe Strap | 3 | Accessories | MPS-7-PS | Accessories | 0.1
MPSD2-30-R-S-52/12 | 853194017831 | 3 Blade-2 Speed Fused Pedestal Disconnect/Starter W/Panel Switch | 12600 | Electrical Pedestals | MPSD2-30-R-S-52/12 | Electrical Pedestals | 0
MPSD2-60-R-S-66/12 | 853194017855 | Pedestal Disconnect/Starter W/O Panel Switch 60 amp 3 Blade-2 Speed Fused | 17762 | Electrical Pedestals | MPSD2-60-R-S-66/12 | Electrical Pedestals | 0
MPSD2E-30-R-S-52/12 | 853194033008 | Pedestal w/ Eaton Starter Disconnect 2 Speed Fused 600V,30Amp, 240V Coil | 12522 | Electrical Pedestals | MPSD2E-30-R-S-52/12 | Electrical Pedestals | 0
MPSD2E-60-R-S-66/12 | 853194033015 | Pedestal w/ Eaton Starter Disconnect 2 Speed Fused 600V,60Amp, 240V Coil | 18732 | Electrical Pedestals | MPSD2E-60-R-S-66/12 | Electrical Pedestals | 0
MPSD-30-R-52/12 | 853194017893 | 3 Blade-Fused Pedestal Disconnect/Starter 600v-30 amp | 5044 | Electrical Pedestals | MPSD-30-R-52/12 | Electrical Pedestals | 0
MPSD-30-R-NF-52/12 | 853194017916 | Pedestal Disconnect/Starter 600v-30 Amp Non-Fused | 5223 | Electrical Pedestals | MPSD-30-R-NF-52/12 | Electrical Pedestals | 144
MPSD-30-R-S-52/12 | 853194017947 | 3 Blade-Fused Pedestal Disconnect/Starter W/Panel Switches 600 | 6309 | Electrical Pedestals | MPSD-30-R-S-52/12 | Electrical Pedestals | 0
MPSD-30-R-S-NF-52/12 | 853194017954 | 3 Blade-Non-Fused Pedestal Disconnect/Starter W/Panel Switches 600 | 7493 | Electrical Pedestals | MPSD-30-R-S-NF-52/12 | Electrical Pedestals | 0
MPSD-60-R-52/12 | 853194017961 | 3 Blade-Fused Pedestal Disconnect/Starter 600v-60 amp | 7631 | Electrical Pedestals | MPSD-60-R-52/12 | Electrical Pedestals | 0
MPSD-60-R-NF-52/12 | 853194017978 | Pedestal Disconnect/Starter W/Out Panel Switch 60 amp 3 Blade Non Fused | 6064 | Electrical Pedestals | MPSD-60-R-NF-52/12 | Electrical Pedestals | 0
MPSD-60-R-S-52/12 | 853194017992 | 3 Blade-Fused Pedestal Disconnect/Starter W/Panel Switches 600 | 8615 | Electrical Pedestals | MPSD-60-R-S-52/12 | Electrical Pedestals | 0
MPSD-60-R-S-NF-52/12 | 853194018005 | 3 Blade-Non-Fused Pedestal Disconnect/Starter W/Panel Switches 600 | 8418 | Electrical Pedestals | MPSD-60-R-S-NF-52/12 | Electrical Pedestals | 0
MPSDE-30-R-52/12 | 853194032926 | Pedestal w/ Eaton Disconnect/Starter 3 Blade-Fused 600v-30 amp | 5534 | Electrical Pedestals | MPSDE-30-R-52/12 | Electrical Pedestals | 0
MPSDE-30-R-NF-52/12 | 853194032933 | Pedestal w/ Eaton Disconnect/Starter 3 Blade-Non Fused 600v-30 amp | 5475 | Electrical Pedestals | MPSDE-30-R-NF-52/12 | Electrical Pedestals | 0
MPSDE-30-R-S-52/12 | 853194032940 | Pedestal w/ Eaton Disconnect/Starter W/Panel Switches 3 Blade-Fused 600v | 6130 | Electrical Pedestals | MPSDE-30-R-S-52/12 | Electrical Pedestals | 0
MPSDE-30-R-S-NF-52/12 | 853194032957 | Pedestal W/ Eaton Disconnect/Starter W/Panel Switches 30 amp Non Fused | 7068 | Electrical Pedestals | MPSDE-30-R-S-NF-52/12 | Electrical Pedestals | 0
MPSDE-60-R-52/12 | 853194032964 | Pedestal w/ Eaton Disconnect/Starter 3 Blade-Fused 600v-60 amp | 7909 | Electrical Pedestals | MPSDE-60-R-52/12 | Electrical Pedestals | 0
MPSDE-60-R-NF-52/12 | 853194032971 | Pedestal w/ Eaton Disconnect/Starter W/Out Panel Switch 60 amp 3 Blade Non Fused | 7667 | Electrical Pedestals | MPSDE-60-R-NF-52/12 | Electrical Pedestals | 0
MPSDE-60-R-S-52/12 | 853194032988 | Pedestal w/ Eaton Disconnect/Starter W/Panel Switches 3 Blade-Fused 600 | 8309 | Electrical Pedestals | MPSDE-60-R-S-52/12 | Electrical Pedestals | 0
MPSDE-60-R-S-NF-52/12 | 853194032995 | Pedestal w/ Eaton Disconnect/Starter W/Panel Switches 60 amp Non Fused | 8094 | Electrical Pedestals | MPSDE-60-R-S-NF-52/12 | Electrical Pedestals | 0
MPX-20-G-36/12 | 853194018043 | Utility Pedestal W/GFCI | 641 | Electrical Pedestals | MPX-20-G-36/12 | Electrical Pedestals | 21.2
MPX-20-G-L-36/12 | 853194018050 | Utility Pedestal W/GFCI & Lights | 1049 | Electrical Pedestals | MPX-20-G-L-36/12 | Electrical Pedestals | 40
MPX-20-G-L-S-36/12 | 853194018067 | Utility Pedestal W/GFCI; Lights & Switch | 1068 | Electrical Pedestals | MPX-20-G-L-S-36/12 | Electrical Pedestals | 0
MPX-20-L-36/12 | 853194018074 | Utility Pedestal W/Lights | 874 | Electrical Pedestals | MPX-20-L-36/12 | Electrical Pedestals | 0
MPX-20-L-S-36/12 | 853194018081 | Utility Pedestal W/Lights & Switch | 895 | Electrical Pedestals | MPX-20-L-S-36/12 | Electrical Pedestals | 0
MPX2-36/12 | 853194018098 | Utility Pedestal 2" - Less Disconnect | 566 | Electrical Pedestals | MPX2-36/12 | Electrical Pedestals | 19
MPX4-36/12 | 853194018104 | Utility Pedestal 4' - Less Disconnect | 831 | Electrical Pedestals | MPX4-36/12 | Electrical Pedestals | 35
MS-1 | 853194018166 | Single Post Support Base W/O Pad | 18 | Nylon Support | MS-1 | Pipe Supports | 1.25 | 12 | 20x16x10
MS-10-A5 | 853194018173 | Adjustable Roller Assembly W/5" SS ATR | 41 | Accessores | MS-10-A5 | Accessores | 0
MS-10-FH | 853194018180 | Fixed Height Roller Assembly | 72 | Accessores | MS-10-FH | Accessores | 0
MS-10SA10 | 853194018197 | 10" Strut Support - Adj ht 3"-10" W/O Pad | 30 | Nylon Support | MS-10SA10 | Nylon Support | 1.67 | 12 | 20x16x12
MS-10SA10-P | 853194018203 | 10" Strut Support - Adj ht 3"-10" W/Pad | 33 | Nylon Support | MS-10SA10-P | Nylon Support | 1.83 | 12 | 20x16x12
MS-10SA14 | 853194018210 | 10" Strut Support - Adj ht 3"-14" W/O Pad | 34 | Nylon Support | MS-10SA14 | Nylon Support | 2 | 12 | 24x20x12
MS-10SA14-P | 853194018227 | 10" Strut Support - Adj ht 3"-14" W/Pad | 37 | Nylon Support | MS-10SA14-P | Nylon Support | 2.25 | 12 | 24x20x12
MS-10SA7 | 853194018234 | 10" Strut Support - Adj ht 3"-7" W/O Pad | 22 | Nylon Support | MS-10SA7 | Nylon Support | 1.58 | 12 | 20x16x10
MS-10SA7-P | 853194018241 | 10" Strut Support - Adj ht 3"-7" W/Pad | 25 | Nylon Support | MS-10SA7-P | Nylon Support | 1.83 | 12 | 20x16x10
MS-10SF4 | 853194018258 | 10" Strut Support 4" Fixed height W/O Pad | 19 | Nylon Support | MS-10SF4 | Nylon Support | 1.3 | 12 | 20x16x10
MS-10SF4-P | 853194018265 | 10" Strut Support 4" Fixed height W/Pad | 22 | Nylon Support | MS-10SF4-P | Nylon Support | 1.33 | 12 | 20x16x10
MS-10SF6 | 853194018272 | 10" Strut Support 6" Fixed height W/O Pad | 21 | Nylon Support | MS-10SF6 | Nylon Support | 1.3 | 12 | 20x16x10
MS-10SF6-P | 853194035330 | 10" Strut Support 6" Fixed height W/ Pad | 24 | Nylon Support | MS-10SF6-P | Nylon Support | 0 | 12 | 20x16x10
MS-1-1216-A10 | 853194018333 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/O Pad | 25 | Nylon Support | MS-1-1216-A10 | Nylon Support | 1.25 | 12 | 20x16x10
MS-1-1216-A10-P | 853194018340 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/ Pad | 27 | Nylon Support | MS-1-1216-A10-P | Nylon Support | 1.5 | 12 | 20x16x10
MS-1-1216-A14 | 853194018357 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/O Pad | 27 | Nylon Support | MS-1-1216-A14 | Nylon Support | 1.7 | 12 | 20x16x10
MS-1-1216-A14-P | 853194018364 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/ Pad | 29 | Nylon Support | MS-1-1216-A14-P | Nylon Support | 1.9 | 12 | 20x16x10
MS-1-1216-A20-MWP |  | Single Post Support, Standard Series, Single Post, Copper 3/8" with 1216 clamp, 14"-20" Vertical Adjustment, Walk Pad | 52 | Nylon Support | MS-1-1216-A20-MWP | Nylon Support | 0 | 5 | 20x16x10
MS-1-2124-A10 | 853194018524 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/O Pad | 27 | Nylon Support | MS-1-2124-A10 | Nylon Support | 1.36 | 12 | 20x16x10
MS-1-2124-A10-P | 853194018531 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/ Pad | 27 | Nylon Support | MS-1-2124-A10-P | Nylon Support | 1.56 | 12 | 20x16x10
MS-1-2124-A14 | 853194018548 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/O Pad | 29 | Nylon Support | MS-1-2124-A14 | Nylon Support | 1.64 | 12 | 20x16x10
MS-1-2124-A14-P | 853194018555 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/ Pad | 30 | Nylon Support | MS-1-2124-A14-P | Nylon Support | 1.84 | 12 | 20x16x10
MS-1-2124-A20-MWP | 853194042666 | Single Post Support, Standard Series, Single Post, Copper 3/4" with 2124 clamp, 14"-20" Vertical Adjustment, Walk Pad | 53 | Nylon Support | MS-1-2124-A20-MWP | Nylon Support | 6 | 5 | 20x16x10
MS-1-2529-A10 | 853194018562 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/O Pad | 27 | Nylon Support | MS-1-2529-A10 | Nylon Support | 1.37 | 12 | 20x16x10
MS-1-2529-A10-P | 853194018579 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/ Pad | 29 | Nylon Support | MS-1-2529-A10-P | Nylon Support | 1.57 | 12 | 20x16x10
MS-1-2529-A14 | 853194018586 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/O Pad | 30 | Nylon Support | MS-1-2529-A14 | Nylon Support | 1.65 | 12 | 20x16x10
MS-1-2529-A14-P | 853194018593 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/ Pad | 30 | Nylon Support | MS-1-2529-A14-P | Nylon Support | 1.85 | 12 | 20x16x10
MS-1-2529-A20-MWP |  | Single Post Support, Standard Series, Single Post, Copper 1" with 2529 clamp, 14"-20" Vertical Adjustment, Walk Pad | 53 | Nylon Support | MS-1-2529-A20-MWP | Nylon Support | 0 | 5 | 20x16x10
MS-12SA10 | 853194018609 | 12" Strut Support-Adj. ht 3"-10", W/O Pad | 40 | Nylon Support | MS-12SA10 | Nylon Support | 2.47 | 12 | 24x20x12
MS-12SA10-P | 853194018616 | 12" Strut Support-Adj. ht 3"-10", W/Pad | 46 | Nylon Support | MS-12SA10-P | Nylon Support | 2.77 | 12 | 24x20x12
MS-12SA14 | 853194018623 | 12" Strut Support-Adj. ht 3"-14", W/O Pad | 50 | Nylon Support | MS-12SA14 | Nylon Support | 3.17 | 12 | 24x20x12
MS-12SA14-P | 853194018630 | 12" Strut Support-Adj. ht 3"-14", W/Pad | 54 | Nylon Support | MS-12SA14-P | Nylon Support | 3.25 | 12 | 24x20x12
MS-12SA7 | 853194018654 | 12" Strut Support-Adj. ht 3"-7", W/O Pad | 34 | Nylon Support | MS-12SA7 | Nylon Support | 2.22 | 12 | 24x20x8
MS-12SA7-P | 853194018661 | 12" Strut Support-Adj. ht 3"-7", W/Pad | 37 | Nylon Support | MS-12SA7-P | Nylon Support | 2.67 | 12 | 24x20x8
MS-12SF4 | 853194018678 | 12" Strut Support-Fixed ht 4", W/O Pad | 23 | Nylon Support | MS-12SF4 | Nylon Support | 1.72 | 12 | 24x20x8
MS-12SF4-P | 853194018685 | 12" Strut Support-Fixed ht 4", W/Pad | 25 | Nylon Support | MS-12SF4-P | Nylon Support | 1.83 | 12 | 24x20x8
MS-1-3034-A10 | 853194018692 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/O Pad | 28 | Nylon Support | MS-1-3034-A10 | Nylon Support | 1.37 | 12 | 20x16x10
MS-1-3034-A10-P | 853194018708 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/ Pad | 29 | Nylon Support | MS-1-3034-A10-P | Nylon Support | 1.57 | 12 | 20x16x10
MS-1-3034-A14 | 853194018715 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/O Pad | 30 | Nylon Support | MS-1-3034-A14 | Nylon Support | 1.65 | 12 | 20x16x10
MS-1-3034-A14-P | 853194018722 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/ Pad | 30 | Nylon Support | MS-1-3034-A14-P | Nylon Support | 1.85 | 12 | 20x16x10
MS-1-3034-A20-MWP | 853194041195 | Single Post Support, Standard Series, Single Post, 14" - 20" Vertical Adjustment, Walk Pad | 54 | Nylon Support | MS-1-3034-A20-MWP | Nylon Support | 6 | 5 | 20x16x10
MS-1-3538-A10 | 853194018739 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/O Pad | 29 | Nylon Support | MS-1-3538-A10 | Nylon Support | 1.37 | 12 | 20x16x10
MS-1-3538-A10-P | 853194018746 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/ Pad | 29 | Nylon Support | MS-1-3538-A10-P | Nylon Support | 1.57 | 12 | 20x16x10
MS-1-3538-A14 | 853194018753 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/O Pad | 31 | Nylon Support | MS-1-3538-A14 | Nylon Support | 1.65 | 12 | 20x16x10
MS-1-3538-A14-P | 853194018760 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/ Pad | 31 | Nylon Support | MS-1-3538-A14-P | Nylon Support | 1.85 | 12 | 20x16x10
MS-1-3538-A20-MWP |  | Single Post Support, Standard Series, Single Post, Copper 1 1/4" with 3538 clamp, 14"-20" Vertical Adjustment, Walk Pad | 54 | Nylon Support | MS-1-3538-A20-MWP | Nylon Support |  | 5 | 20x16x10
MS-1-4044-A10 | 853194018777 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/O Pad | 29 | Nylon Support | MS-1-4044-A10 | Nylon Support | 1.37 | 12 | 20x16x10
MS-1-4044-A10-P | 853194018784 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/ Pad | 29 | Nylon Support | MS-1-4044-A10-P | Nylon Support | 1.57 | 12 | 20x16x10
MS-1-4044-A14 | 853194018791 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/O Pad | 30 | Nylon Support | MS-1-4044-A14 | Nylon Support | 1.65 | 12 | 20x16x10
MS-1-4044-A14-P | 853194018807 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/ Pad | 31 | Nylon Support | MS-1-4044-A14-P | Nylon Support | 1.85 | 12 | 20x16x10
MS-1-4044-A20-MWP | 853194042673 | Single Post Support, Standard Series, Single Post, Copper 1 1/2" with 4044 clamp, 14"-20" Vertical Adjustment, Walk Pad | 54 | Nylon Support | MS-1-4044-A20-MWP | Nylon Support | 6 | 5 | 20x16x10
MS-1-4854-A10 | 853194018814 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/O Pad | 30 | Nylon Support | MS-1-4854-A10 | Nylon Support | 1.78 | 12 | 20x16x10
MS-1-4854-A10-P | 853194018821 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/ Pad | 30 | Nylon Support | MS-1-4854-A10-P | Nylon Support | 1.58 | 12 | 20x16x10
MS-1-4854-A14 | 853194018838 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/O Pad | 31 | Nylon Support | MS-1-4854-A14 | Nylon Support | 1.66 | 12 | 20x16x10
MS-1-4854-A14-P | 853194018845 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/ Pad | 31 | Nylon Support | MS-1-4854-A14-P | Nylon Support | 1.86 | 12 | 20x16x10
MS-1-4854-A20-MWP | 853194033992 | Single Post Support, Single Post, Copper 2" with 2 1/8" Rubber Grommet, 14" - 20" Vertical Adjustment, Walk Pad | 55 | Nylon Support | MS-1-4854-A20-MWP | Nylon Support | 6 | 5 | 20x16x10
MS-1-5663-A10 | 853194018906 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/O Pad | 30 | Nylon Support | MS-1-5663-A10 | Nylon Support | 1.42 | 5 | 20x16x10
MS-1-5663-A10-P | 853194018913 | Single Post Support W/5" SS rod SNS Clamp, Adj. ht 6"-10" W/ Pad | 30 | Nylon Support | MS-1-5663-A10-P | Nylon Support | 1.62 | 5 | 20x16x10
MS-1-5663-A14 | 853194018920 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/O Pad | 31 | Nylon Support | MS-1-5663-A14 | Nylon Support | 1.7 | 5 | 20x16x10
MS-1-5663-A14-P | 853194018937 | Single Post Support W/9" SS rod SNS Clamp, Adj. ht 10"-14" W/ Pad | 31 | Nylon Support | MS-1-5663-A14-P | Nylon Support | 1.9 | 5 | 20x16x10
MS-1-5663-A20-MWP | 853194033046 | Single Post Support W/15" SS rod, SNS Clamp, Adj. ht 14"-20", & 1/2" Thick Walk Pad | 55 | Nylon Support | MS-1-5663-A20-MWP | Nylon Support | 6 | 5 | 20x16x10
MS-1C-ESB-CO | 853194019040 | MS-1 W/Corner Support Bracket | 31 | Nylon Support | MS-1C-ESB-CO | Nylon Support
MS-1C-P | 853194019057 | MS-1 Equipment Support W/Corner Support Bracket and Pad | 34 | Nylon Support | MS-1C-P | Nylon Support
MS-1-P | 853194028844 | Single Post Support Base W/Pad | 19 | Nylon Support | MS-1-P | Nylon Support | 1.5 | 12 | 20x16x10
MS-25RA7 | 853194019088 | 2.5" IPS - Roller Support - Adj. ht 3"-7", W/O Pad | 27 | Nylon Support | MS-25RA7 | Nylon Support | 1.5 | 12 | 20x16x10
MS-25RA7-P | 853194019095 | 2.5" IPS - Roller Support - Adj. ht 3"-7", W/ Pad | 31 | Nylon Support | MS-25RA7-P | Nylon Support | 1.75 | 12 | 20x16x10
MS-2HA12 | 853194019101 | Strut Support W/ 2" IPS band hanger, W/O Pad | 45 | Nylon Support | MS-2HA12 | Nylon Support | 2.5 | 12 | 24x20x12
MS-2HA12-P | 853194019118 | Strut Support W/ 2" IPS band hanger, W/ Pad | 49 | Nylon Support | MS-2HA12-P | Nylon Support | 2.58 | 12 | 24x20x12
MS-3-A5 | 853194019125 | Adjustable Roller Assembly W/ 6" SS ATR | 21 | Accessories | MS-3-A5 | Accessories | 0.88 | 12 | 24x20x12
MS-3HA16 | 853194019132 | Strut Support W/3" IPS band hanger, W/O Pad | 60 | Nylon Support | MS-3HA16 | Nylon Support | 4.2 | 12 | 24x20x12
MS-3HA16-P | 853194019149 | Strut Support W/3" IPS band hanger, W/ Pad | 64 | Nylon Support | MS-3HA16-P | Nylon Support | 4.5 | 12 | 24x20x12
MS-3RA12 | 853194019156 | 3" IPS-Roller Support-Adj. ht 3"-12", W/O Pad | 36 | Nylon Support | MS-3RA12 | Nylon Support | 2.18 | 12 | 20x16x12
MS-3RA12-P | 853194019163 | 3" IPS-Roller Support-Adj. ht 3"-12", W/Pad | 39 | Nylon Support | MS-3RA12-P | Nylon Support | 2.25 | 12 | 20x16x12
MS-3RA7 | 853194019170 | 3" IPS-Roller Support-Adj. ht 3"-7", W/O Pad | 31 | Nylon Support | MS-3RA7 | Nylon Support | 1.67 | 12 | 20x16x10
MS-3RA7-P | 853194019187 | 3" IPS- Roller Support- Adj. Ht 3"-7", W/Pad | 34 | Nylon Support | MS-3RA7-P | Nylon Support | 2.08 | 12 | 20x16x10
MS-4RA10 | 853194019194 | 4" IPS- Roller Support-Adj. ht 3"-10", W/O Pad | 41 | Nylon Support | MS-4RA10 | Nylon Support | 2.3 | 12 | 20x16x12
MS-4RA10-P | 853194019200 | 4" IPS-Roller Support-Adj. ht 3" - 10", W/Pad | 45 | Nylon Support | MS-4RA10-P | Nylon Support | 2.5 | 12 | 20x16x12
MS-4RA14 | 853194019217 | 4" IPS-Roller Support-Adj. ht 3"-14" W/O Pad | 48 | Nylon Support | MS-4RA14 | Nylon Support | 2.83 | 12 | 20x16x12
MS-4RA14-P | 853194019224 | 4" IPS-Roller Support-Adj. ht 3"-14" W Pad | 51 | Nylon Support | MS-4RA14-P | Nylon Support | 3 | 12 | 20x16x12
MS-4RA7 | 853194019255 | 4" IPS Roller Support-Adj ht 3"-7" W/O Pad | 36 | Nylon Support | MS-4RA7 | Nylon Support | 2.17 | 12 | 20x16x10
MS-4RA7-P | 853194019262 | 4" IPS Roller Support-Adj ht 3"-7" W Pad | 40 | Nylon Support | MS-4RA7-P | Nylon Support | 2.5 | 12 | 20x16x10
MS-4RF3 | 853194019279 | 4" IPS Roller Support-Fixed ht 3" W/O Pad | 24 | Nylon Support | MS-4RF3 | Nylon Support | 1.2 | 12 | 20x16x6
MS-4RF3-P | 853194019286 | 4" IPS Roller Support-Fixed ht 3" W/Pad | 29 | Nylon Support | MS-4RF3-P | Nylon Support | 1.33 | 12 | 20x16x6
MS-5-A5 | 853194019293 | Adjustable Roller Assembly W/5" SS ATR | 25 | Accessories | MS-5-A5 | Accessories | 0.9
MS-5-FH | 853194019316 | Fixed Height Roller Assembly | 58 | Accessories | MS-5-FH | Accessories | 0
MS-5RA10 | 853194019323 | 5" IPS-Roller Support Adj. ht 3"-10" W/O Pad | 53 | Nylon Support | MS-5RA10 | Nylon Support | 3.62 | 12 | 24x20x8
MS-5RA10-P | 853194019330 | 5" IPS-Roller Support Adj. ht 3"-10" W Pad | 56 | Nylon Support | MS-5RA10-P | Nylon Support | 3.98 | 12 | 24x20x8
MS-5RA14 | 853194019347 | 5" IPS- Roller Support-Adj. ht 3"-14", W/O Pad | 60 | Nylon Support | MS-5RA14 | Nylon Support | 4.08 | 12 | 24x20x12
MS-5RA14-P | 853194019361 | 5" IPS-Roller Support-Adj ht. 3"-14" W/Pad | 65 | Nylon Support | MS-5RA14-P | Nylon Support | 4.48 | 12 | 24x20x12
MS-5RA7 | 853194019385 | 5" IPS Roller Support - Adj ht 3"-7" W/O Pad | 46 | Nylon Support | MS-5RA7 | Nylon Support | 3.37 | 12 | 24x20x8
MS-5RA7-P | 853194019392 | 5" IPS Roller Support - Adj ht 3"-7" W/ Pad | 50 | Nylon Support | MS-5RA7-P | Nylon Support | 3.58 | 12 | 24x20x8
MS-5RF3 | 853194019408 | 5" IPS - Roller Support - 3" Fixed ht., W/O Pad | 31 | Nylon Support | MS-5RF3 | Nylon Support | 2 | 12 | 24x20x8
MS-5RF3-P | 853194019415 | 5" IPS - Roller Support - 3" Fixed ht., W/ Pad | 34 | Nylon Support | MS-5RF3-P | Nylon Support | 2.25 | 12 | 24x20x8
MS-8-A5 | 853194019422 | Adjustable Roller Assembly W/5" SS ATR | 40 | Accessories | MS-8-A5 | Accessories | 0
MS-8-FH | 853194019439 | Fixed Height Roller Assembly | 69 | Accessories | MS-8-FH | Accessories | 0
MS-AA5-1-1/8 | 853194019446 | Single Post Assembly W/ 5" SS Rod, SS Clamp & Strut Nut | 8 | Accessories | MS-AA5-1-1/8 | Accessories | 0
MS-AA5-1216 | 853194019453 | Single Post Assembly W/5" SS Rod, SNS Clamp & Strut Nut | 8 | Accessories | MS-AA5-1216 | Accessories | 0
MS-AA5-1-3/8 | 853194019460 | Single Post Assembly W/ 5" SS Rod, SS Clamp & Strut Nut | 12 | Accessories | MS-AA5-1-3/8 | Accessories | 0
MS-AA5-1-5/8 | 853194019477 | Single Post Assembly W/ 5" SS Rod, SS Clamp & Strut Nut | 10 | Accessories | MS-AA5-1-5/8 | Accessories | 0
MS-AA5-2-1/8 | 853194019484 | Single Post Assembly W/ 5" SS Rod, SS Clamp & Strut Nut | 12 | Accessories | MS-AA5-2-1/8 | Accessories | 0
MS-AA5-2124 | 853194019491 | Single Post Assembly W/ 5" SS Rod, SNS Clamp & Strut Nut | 8 | Accessories | MS-AA5-2124 | Accessories | 0
MS-AA5-2529 | 853194019507 | Single Post Assembly W/ 5" SS Rod, SNS Clamp & Strut Nut | 8 | Accessories | MS-AA5-2529 | Accessories | 0
MS-AA5-3034 | 853194019514 | Single Post Assembly W/ 5" SS Rod, SNS Clamp & Strut Nut | 10 | Accessories | MS-AA5-3034 | Accessories | 0
MS-AA5-3538 | 853194019521 | Single Post Assembly W/ 5" SS Rod, SNS Clamp & Strut Nut | 12 | Accessories | MS-AA5-3538 | Accessories | 0
MS-AA5-4044 | 853194019538 | Single Post Assembly W/ 5" SS Rod, SNS Clamp & Strut Nut | 12 | Accessories | MS-AA5-4044 | Accessories | 0
MS-AA5-4854 | 853194019545 | Single Post Assembly W/ 5" SS Rod, SNS Clamp & Strut Nut | 12 | Accessories | MS-AA5-4854 | Accessories | 0
MS-AA5-5/8 | 853194019552 | Single Post Assembly W/ 5" SS Rod, SS Clamp & Strut Nut | 10 | Accessories | MS-AA5-5/8 | Accessories | 0
MS-AA5-7/8 | 853194019576 | Single Post Assembly W/ 5" SS Rod, SS Clamp & Strut Nut | 8 | Accessories | MS-AA5-7/8 | Accessories | 0
MS-AA9-1-1/8 | 853194019583 | Single Post Assembly W/ 9" SS Rod, SS Clamp & Strut Nut | 12 | Accessories | MS-AA9-1-1/8 | Accessories | 0
MS-AA9-1216 | 853194019590 | Single Post Assembly W/9" SS Rod, SNS Clamp & Strut Nut | 10 | Accessories | MS-AA9-1216 | Accessories | 0
MS-AA9-1-3/8 | 853194019606 | Single Post Assembly W/ 9" SS Rod, SS Clamp & Strut Nut | 12 | Accessories | MS-AA9-1-3/8 | Accessories | 0
MS-AA9-1-5/8 | 853194019613 | Single Post Assembly W/ 9" SS Rod, SS Clamp & Strut Nut | 13 | Accessories | MS-AA9-1-5/8 | Accessories | 0
MS-AA9-2-1/8 | 853194019620 | Single Post Assembly W/ 9" SS Rod, SS Clamp & Strut Nut | 13 | Accessories | MS-AA9-2-1/8 | Accessories | 0
MS-AA9-2124 | 853194019637 | Single Post Assembly W/ 9" SS Rod, SNS Clamp & Strut Nut | 10 | Accessories | MS-AA9-2124 | Accessories | 0
MS-AA9-2529 | 853194019644 | Single Post Assembly W/ 9" SS Rod, SNS Clamp & Strut Nut | 12 | Accessories | MS-AA9-2529 | Accessories | 0
MS-AA9-3034 | 853194019651 | Single Post Assembly W/ 9" SS Rod, SNS Clamp & Strut Nut | 12 | Accessories | MS-AA9-3034 | Accessories | 0
MS-AA9-3538 | 853194019668 | Single Post Assembly W/ 9" SS Rod, SNS Clamp & Strut Nut | 12 | Accessories | MS-AA9-3538 | Accessories | 0
MS-AA9-4044 | 853194019675 | Single Post Assembly W/ 9" SS Rod, SNS Clamp & Strut Nut | 13 | Accessories | MS-AA9-4044 | Accessories | 0
MS-AA9-4854 | 853194019682 | Single Post Assembly W/ 9" SS Rod, SNS Clamp & Strut Nut | 13 | Accessories | MS-AA9-4854 | Accessories | 0
MS-AA9-5/8 | 853194019699 | Single Post Assembly W/ 9" SS Rod, SS Clamp & Strut Nut | 10 | Accessories | MS-AA9-5/8 | Accessories | 0
MS-AA9-7/8 | 853194019705 | Single Post Assembly W/ 9" SS Rod, SS Clamp & Strut Nut | 10 | Accessories | MS-AA9-7/8 | Accessories | 0
MSC-375 | 853194019712 | Support Bracing for 3/8" ATR Supports-Less 12 lf 1/2" ATR | 18 | Accessories | MSC-375 | Accessories | 0
MSC-375-ATR | 853194019729 | Support Bracing for 3/8" ATR Supports-W/ 12 lf 1/2" ATR | 107 | Accessories | MSC-375-ATR | Accessories | 0
MSC-500 | 853194019736 | Support Bracing for 1/2" ATR Supports-Less 12 lf 1/2" ATR | 21 | Accessories | MSC-500 | Accessories | 0
MSC-500-ATR | 853194019743 | Support Bracing for 1/2" ATR Supports-W/ 12 lf 1/2" ATR | 109 | Accessories | MSC-500-ATR | Accessories | 0
MT-1-1216-A8 | 853194019866 | Single Post Support W/4" SS Rod, SNS 1216, Adj ht 5"-8", W/O Pad | 17 | Nylon Support | MT-1-1216-A8 | Nylon Support | 0.66 | 12 | 20x16x6
MT-1-1216-A8-P | 853194019873 | Single Post Support W/4" SS Rod, SNS 1216, Adj ht 5"-8", W/Pad | 20 | Nylon Support | MT-1-1216-A8-P | Nylon Support | 0.91 | 12 | 20x16x6
MT-1-2124-A8 | 853194019880 | Single Post Support W/4" SS Rod, SNS 2124, Adj ht 5"-8", W/O Pad | 17 | Nylon Support | MT-1-2124-A8 | Nylon Support | 0.66 | 12 | 20x16x6
MT-1-2124-A8-P | 853194019897 | Single Post Support W/4" SS Rod, SNS 2124, Adj ht 5"-8", W/Pad | 20 | Nylon Support | MT-1-2124-A8-P | Nylon Support | 0.91 | 12 | 20x16x6
MT-1-2529-A8 | 853194019903 | Single Post Support W/4" SS Rod, SNS 2529, Adj ht 5"-8", W/O Pad | 18 | Nylon Support | MT-1-2529-A8 | Nylon Support | 0.66 | 12 | 20x16x6
MT-1-2529-A8-P | 853194019910 | Single Post Support W/4" SS Rod, SNS 2529, Adj ht 5"-8", W/Pad | 20 | Nylon Support | MT-1-2529-A8-P | Nylon Support | 0.91 | 12 | 20x16x6
MT-1-3034-A8 | 853194019927 | Single Post Support W/4" SS Rod, SNS 3034, Adj ht 5"-8", W/O Pad | 18 | Nylon Support | MT-1-3034-A8 | Nylon Support | 0.66 | 12 | 20x16x6
MT-1-3034-A8-P | 853194019934 | Single Post Support W/4" SS Rod, SNS 3034, Adj ht 5"-8", W/Pad | 21 | Nylon Support | MT-1-3034-A8-P | Nylon Support | 0.91 | 12 | 20x16x6
MT-1-3538-A8 | 853194019941 | Single Post Support W/4" SS Rod, SNS 3538, Adj ht 5"-8", W/O Pad | 18 | Nylon Support | MT-1-3538-A8 | Nylon Support | 0.66 | 12 | 20x16x6
MT-1-3538-A8-P | 853194019958 | Single Post Support W/4" SS Rod, SNS 3538, Adj ht 5"-8", W/Pad | 21 | Nylon Support | MT-1-3538-A8-P | Nylon Support | 0.91 | 12 | 20x16x6
MT-1-4044-A8 | 853194019965 | Single Post Support W/4" SS Rod, SNS 4044, Adj ht 5"-8", W/O Pad | 18 | Nylon Support | MT-1-4044-A8 | Nylon Support | 0.66 | 12 | 20x16x6
MT-1-4044-A8-P | 853194019972 | Single Post Support W/4" SS Rod, SNS 4044, Adj ht 5"-8", W/Pad | 21 | Nylon Support | MT-1-4044-A8-P | Nylon Support | 0.91 | 12 | 20x16x6
MT-1-4854-A8 | 853194019989 | Single Post Support W/4" SS Rod, SNS 4854, Adj ht 5"-8", W/O Pad | 19 | Nylon Support | MT-1-4854-A8 | Nylon Support | 0.66 | 12 | 20x16x6
MT-1-4854-A8-P | 853194019996 | Single Post Support W/4" SS Rod, SNS 4854, Adj ht 5"-8", W/Pad | 21 | Nylon Support | MT-1-4854-A8-P | Nylon Support | 0.91 | 12 | 20x16x6
MT-1-5663-A8 | 853194020008 | Single Post Support W/4" SS Rod, SNS 5663, Adj ht 5"-8", W/O Pad | 19 | Nylon Support | MT-1-5663-A8 | Nylon Support | 0.66 | 12 | 20x16x6
MT-1-5663-A8-P | 853194020015 | Single Post Support W/4" SS Rod, SNS 5663, Adj ht 5"-8", W/Pad | 21 | Nylon Support | MT-1-5663-A8-P | Nylon Support | 0.91 | 12 | 20x16x6
MT-1V | 853194020039 | Cradle Support 4" Fixed Height | 12 | Nylon Support | MT-1V | Nylon Support | 0.73 | 12 | 20x16x6
MT-1V-P | 853194020022 | Cradle Support 4" Fixed Height W/Pad | 14 | Nylon Support | MT-1V-P | Nylon Support | 0.92 | 12 | 20x16x6
MT-2RA6 | 853194020046 | Trade Series 2' Pipe Adjustable Nylon Roller Support | 22 | Nylon Support | MT-2RA6 | Nylon Support | 1.25 | 12 | 20x16x6
MT-2RA6-P | 853194020053 | Trade Series 2' Pipe Adjustable W/ Pad | 25 | Nylon Support | MT-2RA6-P | Nylon Support | 1.33 | 12 | 20x16x6
MT-2RF4 | 853194020060 | 2" IPS-Roller Support-4" Fixed Height, W/O pad | 20 | Nylon Support | MT-2RF4 | Nylon Support | 0.98 | 12 | 20x16x6
MT-2RF4-P | 853194020077 | 2" IPS-Roller Support-4" Fixed Height, W/Pad | 23 | Nylon Support | MT-2RF4-P | Nylon Support | 1.08 | 12 | 20x16x6
MT-8SA6 | 853194020084 | 8" Strut Support-Adj. ht 3"-6, W/O pad | 20 | Nylon Support | MT-8SA6 | Nylon Support | 1.17 | 12 | 20x16x6
MT-8SA6-P | 853194020091 | 8" Strut Support-Adj. ht 3"-6, W/Pad | 23 | Nylon Support | MT-8SA6-P | Nylon Support | 1.5 | 12 | 20x16x6
MT-8SF4 | 853194020107 | 8" Strut Support - 4" Fixed Height W/O Pad | 17 | Nylon Support | MT-8SF4 | Nylon Support | 0.92 | 12 | 20x16x6
MT-8SF4-P | 853194020114 | 8" Strut Support - 4" Fixed Height W/Pad | 21 | Nylon Support | MT-8SF4-P | Nylon Support | 1.17 | 12 | 20x16x6
MWP1010 | 853194023030 | Heavy Duty Walk Pad 1/2"x10x10 | 12 | Accessories | MWP1010 | Accessories | 2.5
MWP1016 | 853194023047 | Heavy Duty Walk Pad 1/2"x10x16 | 17 | Accessories | MWP1016 | Accessories | 3
MWP1020 |  | Heavy Duty Walk Pad 10" X 20" X 1/2" | 18 | Accessories | MWP1020 | Accessories
MWP1212 | 853194023054 | Heavy Duty Walk Pad 1/2"x12x12 | 13 | Accessories | MWP1212 | Accessories | 2.3
MWP1220 | 853194023061 | Heavy Duty Walk Pad 1/2"x12x20 | 21 | Accessories | MWP1220 | Accessories | 4.27
MWP1222 | 853194023078 | Heavy Duty Walk Pad 1/2"x12x22 | 22 | Accessories | MWP1222 | Accessories | 5
MWP1224 |  | Heavy Duty Walk Pad 12" X 24" X 1/2" | 22 | Accessories | MWP1224 | Accessories
MWP1414 | 853194023085 | Heavy Duty Walk Pad 1/2"x14x14 | 18 | Accessories | MWP1414 | Accessories | 4
MWP1616 | 853194023092 | Heavy Duty Walk Pad 1/2"x16x16 | 18 | Accessories | MWP1616 | Accessories | 4.5
MWP1820 | 853194023108 | Heavy Duty Walk Pad 1/2"x18x20 | 38 | Accessories | MWP1820 | Accessories | 6.41
MWP2020 | 853194023115 | Heavy Duty Walk Pad 1/2"x20x20 | 38 | Accessories | MWP2020 | Accessories | 9.5
MWP2424 | 853194023122 | Heavy Duty Walk Pad 1/2"x24x24 | 45 | Accessories | MWP2424 | Accessories | 10.2
MWP648 | 853194023153 | Heavy Duty Walk Pad 1/2"x6x48 | 21 | Accessories | MWP648 | Accessories | 2.2
MWP812 | 853194023160 | Heavy Duty Walk Pad 1/2"x8x12 | 10 | Accessories | MWP812 | Accessories | 1.6
MWP914 | 853194023177 | Heavy Duty Walk Pad 1/2"x9x14 | 13 | Accessories | MWP914 | Accessories | 2.2
MX-1.375-1216-SA |  | Single Post Structurally Attached Support w/ SNS Clamp 1216 | 132 | HD-SS Base | MX-1.375-1216-SA | HD-SS Base |  | 3 | 24x20x12
MX-1.375-2124-SA |  | Single Post Structurally Attached Support w/ SNS Clamp 2124 | 132 | HD-SS Base | MX-1.375-2124-SA | HD-SS Base |  | 3 | 24x20x12
MX-1.375-2529-SA |  | Single Post Structurally Attached Support w/ SNS Clamp 2529 | 133 | HD-SS Base | MX-1.375-2529-SA | HD-SS Base |  | 3 | 24x20x12
MX-1.375-3034-SA |  | Single Post Structurally Attached Support w/ SNS Clamp 3034 | 133 | HD-SS Base | MX-1.375-3034-SA | HD-SS Base |  | 3 | 24x20x12
MX-1.375-3538-SA |  | Single Post Structurally Attached Support w/ SNS Clamp 3538 | 133 | HD-SS Base | MX-1.375-3538-SA | HD-SS Base |  | 3 | 24x20x12
MX-1.375-4044-SA |  | Single Post Structurally Attached Support w/ SNS Clamp 4044 | 133 | HD-SS Base | MX-1.375-4044-SA | HD-SS Base |  | 3 | 24x20x12
MX-1.375-4854-SA |  | Single Post Structurally Attached Support w/ SNS Clamp 4854 | 134 | HD-SS Base | MX-1.375-4854-SA | HD-SS Base |  | 3 | 24x20x12
MX-1.375-5663-SA |  | Single Post Structurally Attached Support w/ SNS Clamp 5663 | 134 | HD-SS Base | MX-1.375-5663-SA | HD-SS Base |  | 3 | 24x20x12
MX-10RA18 | 853194023375 | Heavy Duty SS - 10" IPS - Roller Support - Adj. ht. 3"-18" | 158 | HD-SS Base | MX-10RA18 | HD-SS Base | 0 | 4 | 24x20x12
MX-10RA18-5/8 | 853194023382 | Heavy Duty SS - 10" IPS - Roller Support - Adj. ht 3"-18" - 5/8 ATR | 190 | HD-SS Base | MX-10RA18-5/8 | HD-SS Base | 0 | 4 | 24x20x12
MX-10RA6 | 853194023399 | Heavy Duty SS - 10" IPS - Roller Support - Adj. ht. 3"-6" | 146 | HD-SS Base | MX-10RA6 | HD-SS Base | 6.63 | 8 | 24x20x12
MX-10RA6-5/8 | 853194023405 | Heavy Duty SS - 10" IPS - Roller Support - Adj. ht 3"-6" - 5/8 ATR | 160 | HD-SS Base | MX-10RA6-5/8 | HD-SS Base | 0 | 8 | 24x20x12
MX-10RA9-SA | 853194023412 | Heavy Duty SS - 10" IPS - Structurally Attached - Roller Support | 257 | HD-SS Base | MX-10RA9-SA | HD-SS Base | 0 | 2 | 24x20x12
MX-12SA14 | 853194023436 | Heavy Duty SS - 12" Strut Support - Adj. ht. 3"-14" | 113 | HD-SS Base | MX-12SA14 | HD-SS Base | 3.17 | 12 | 24x20x12
MX-12SA6 | 853194023443 | Heavy Duty SS - 12" Strut Support - Adj. ht. 3"-6" | 101 | HD-SS Base | MX-12SA6 | HD-SS Base | 2.45 | 12 | 24x20x8
MX-1375-SA-4-6 | 853194023467 | 4" X 6" Single Post Structurally Attached Support W/3/8 ATR | 126 | HD-SS Base | MX-1375-SA-4-6 | HD-SS Base | 3.08 | 3 | 24x20x12
MB-146C-SA | 853194023481 | Heavy Duty SS - Structurally Attached Base W/Strut Receiver W/ Hardware | 216 | HD-SS Base | MB-146C-SA | HD-SS Base | 0 | 2 | 24x20x12
MX-14SA9-SA | 853194023504 | Heavy Duty SS - Structurally Attached - 14" Strut | 243 | HD-SS Base | MX-14SA9-SA | HD-SS Base | 11.7 | 2 | 24x24x7
MX-1500-SA-2-6 | 853194023535 | 2" X 6" Single Post Structurally Attached Anchoring Base W/1/2" ATR | 159 | HD-SS Base | MX-1500-SA-2-6 | HD-SS Base | 0 | 3 | 24x20x12
MX-1500-SA-2-6 |  | MX-1.500-SA (priced p/each - 2 required per pedestal) | 159 | HD-SS Base |  | HD-SS Base |  | 3 | 24x20x12
MX-1500-SA-4-6 | 853194023542 | 4" X 6" Single Post Structurally Attached Anchoring Base W/1/2" ATR | 159 | HD-SS Base | MX-1500-SA-4-6 | HD-SS Base | 0 | 3 | 24x20x12
MX-1750-SA-2-6 | 853194023559 | 2" X 6" Single Post Structurally Attached Support W/3/4" ATR | 175 | HD-SS Base | MX-1750-SA-2-6 | HD-SS Base | 0 | 3 | 24x20x12
MX-1750-SA-4-6 | 853194023566 | 4" X 6" Single Post Structurally Attached Support W/3/4" ATR | 175 | HD-SS Base | MX-1750-SA-4-6 | HD-SS Base | 0 | 3 | 24x20x12
MX-18SA18 | 853194023573 | Heavy Duty SS - 18" Strut Support - Adj. ht. 3"-18" | 131 | HD-SS Base | MX-18SA18 | HD-SS Base | 8.17 | 6 | 24x20x12
MX-18SA6 | 853194023580 | Heavy Duty SS - 18" Strut Support - Adj. ht. 3"-6" | 119 | HD-SS Base | MX-18SA6 | HD-SS Base | 4.95 | 6 | 24x20x8
MX-18SA9-SA | 853194023597 | Heavy Duty SS - Structurally Attached - 18" Strut | 238 | HD-SS Base | MX-18SA9-SA | HD-SS Base | 0 | 2 | 24x20x12
MX-20SA18 | 853194023603 | Heavy Duty SS - 20" Strut Support - Adj. ht. 3"-18" | 153 | HD-SS Base | MX-20SA18 | HD-SS Base | 0 | 4 | 24x20x12
MX-20SA6 | 853194023610 | Heavy Duty SS - 20" Strut Support - Adj. ht. 3"-6" | 135 | HD-SS Base | MX-20SA6 | HD-SS Base | 0 | 6 | 24x20x12
MX-2HA18 | 853194023627 | Heavy Duty SS - Strut Support W/2" IPS Band Hanger | 159 | HD-SS Base | MX-2HA18 | HD-SS Base | 0 | 8 | 24x20x12
MX-3HA18 | 853194023634 | Heavy Duty SS - Strut Support W/3" IPS Band Hanger | 162 | HD-SS Base | MX-3HA18 | HD-SS Base | 4.15 | 8 | 24x20x12
MX-4HA18 | 853194023641 | Heavy Duty SS - Strut Support W/4" IPS Band Hanger | 172 | HD-SS Base | MX-4HA18 | HD-SS Base | 4.5 | 8 | 24x20x12
MX-5RA14 | 853194023665 | Heavy Duty SS - 5" IPS - Roller Support - Adj. ht 3"-14" | 122 | HD-SS Base | MX-5RA14 | HD-SS Base | 4.33 | 12 | 24x20x8
MX-5RA6 | 853194023672 | Heavy Duty SS - 5" IPS - Roller Support - Adj. ht 3"-6" | 111 | HD-SS Base | MX-5RA6 | HD-SS Base | 3.57 | 12 | 24x20x12
MX-5RA9-SA | 853194023689 | Heavy Duty SS - 5" IPS - Structurally Attached - Roller Support | 246 | HD-SS Base | MX-5RA9-SA | HD-SS Base | 0 | 2 | 24x20x12
MX-6RA14 | 853194023702 | Heavy Duty SS - 6" IPS - Roller Support - Adj. ht 3"-14" | 121 | HD-SS Base | MX-6RA14 | HD-SS Base | 4.33 | 6 | 24x20x12
MX-6RA6 | 853194023719 | Heavy Duty SS - 6" IPS - Roller Support - Adj. ht 3"-6" | 111 | HD-SS Base | MX-6RA6 | HD-SS Base | 3.57 | 8 | 24x20x8
MX-8RA18 | 853194023733 | Heavy Duty SS - 8" IPS - Roller Support - Adj. ht 3"-18" | 140 | HD-SS Base | MX-8RA18 | HD-SS Base | 4.08 | 6 | 24x20x12
MX-8RA18-5/8 | 853194023740 | Heavy Duty SS - 8" IPS - Roller Support - Adj. ht 3"-18" - 5/8 ATR | 172 | HD-SS Base | MX-8RA18-5/8 | HD-SS Base | 9 | 6 | 24x20x12
MX-8RA6 | 853194023757 | Heavy Duty SS - 8" IPS - Roller Support - Adj. ht 3"-6" | 126 | HD-SS Base | MX-8RA6 | HD-SS Base | 5.8 | 6 | 24x20x8
MX-8RA6-5/8 | 853194023764 | Heavy Duty SS - 8" IPS - Roller Support - Adj. ht 3"-6" - 5/8 ATR | 141 | HD-SS Base | MX-8RA6-5/8 | HD-SS Base | 0 | 6 | 24x20x8
MX-8RA9-SA | 853194023771 | Heavy Duty SS - 8" IPS - Structurally Attached - Roller Support | 250 | HD-SS Base | MX-8RA9-SA | HD-SS Base | 0 | 2 | 24x20x12
MXC-11 | 853194023788 | Expansion Cage | 68 | Plumbing | MXC-11 | Plumbing | 2.5 | 6 | 24x20x12
MXC-8 | 853194023795 | Expansion Cage | 44 | Plumbing | MXC-8 | Plumbing | 1.17 | 8 | 24x18x12
P-EPD |  | Control Port | 177 | Electrical Pedestals | P-EPD | Electrical Pedestals
SAPD |  | Structurally Attached Mounting Kit for Electrical Pedestals | 122 | Electrical Pedestals | SAPD | Electrical Pedestals
xx/yy100-EPD |  | Extended lengths for above or below roofline 100AMP- 6" increments (Specify in model number) | 114 | Electrical Pedestals | xx/yy100-EPD | Electrical Pedestals
xx/yy30-EPD |  | Extended lengths for above or below roofline 30AMP- 6" increments (Specify in model number) | 76 | Electrical Pedestals | xx/yy30-EPD | Electrical Pedestals
xx/yy60-EPD |  | Extended lengths for above or below roofline 60AMP- 6" increments (Specify in model number) | 90 | Electrical Pedestals | xx/yy60-EPD | Electrical Pedestals
xx/yy-P |  | Extended Shroud above or below roof flange | 70 | Plumbing Pedestals | xx/yy-P | Plumbing Pedestals
xx/yy-UP |  | Extended Shroud above or below roof flange | 48 | Electrical Pedestals | xx/yy-UP | Electrical Pedestals